## Sheet1
Hi Full Inverter Heat Pump
Selection Calculator
Select (nearest) Location |  | Melbourne
What size is your pool? |  | Metres
| Average Length | 9
| Average Width | 4
| Average Depth | 1.5
What temperature do you want? |  | 28
[12 empty] | Without Cover | Cover Used
Spring to Autumn or All Year Round? |  | All Year Round | [9 empty] | kW | kW
|  |  | Jan | [8 empty] | 643.3128 | 569.3318
|  |  | Feb | [8 empty] | 667.7424 | 590.952
|  |  | Mar | [8 empty] | 846.8928 | 749.5001
|  |  | Apr | [8 empty] | 1091.1888 | 965.7021
|  |  | May | [8 empty] | 1368.0576 | 1210.731
|  |  | Jun | [8 empty] | 1547.208 | 1369.2791
|  |  | Jul | [8 empty] | 1612.3536 | 1426.9329
|  |  | Aug | [8 empty] | 1506.492 | 1333.2454
|  |  | Sep | [8 empty] | 1311.0552 | 1160.2839
|  |  | Oct | [8 empty] | 1091.1888 | 965.7021
|  |  | Nov | [8 empty] | 936.468 | 828.7742
|  |  | Dec | [8 empty] | 773.604 | 684.6395
[5 empty] | Phase | kw output cond'n 1 | kw output cond'n 2 | kW | Model
[5 empty] | Single | 9 | 6.57 | 9 | Hi 35 or LC 35 10 amp single phase | 40
Recommended Heat Pump Model |  |  |  | 33.5907 | Single | 14 | 10.22 | 14 | Hi 55 or LC 55 15 amp single phase |  |  | LC 140 T 3 Phase
[5 empty] | Single | 19 | 13.87 | 19 | Hi 72 or LC 72 Single Phase
[5 empty] | Single | 22 | 15 | 22 | Hi 85 Single Phase
[5 empty] | Single | 25 | 18 | 25 | Hi 96 Single Phase
[5 empty] | Three | 30 | 22 | 31 | Hi 120T 3 Phase or LC 110 Single Phase
[5 empty] | Three | 40 | 30 | 40 | LC 140 T 3 Phase
Energy Cost
Power Cost per kW/hr in cents | [10 empty] | Enter Power Cost (cents per kW hour) |  | 28
[12 empty] | Without Cover | Cover Used
|  |  | Jan | [8 empty] | 22.5159 | 19.9266
|  |  | Feb | [8 empty] | 23.371 | 20.6833
|  |  | Mar | [8 empty] | 29.6412 | 26.2325
|  |  | Apr | [8 empty] | 38.1916 | 33.7996
|  |  | May | [8 empty] | 47.882 | 42.3756
|  |  | Jun | [8 empty] | 54.1523 | 47.9248
|  |  | Jul | [8 empty] | 56.4324 | 49.9427
|  |  | Aug | [8 empty] | 52.7272 | 46.6636
|  |  | Sep | [8 empty] | 45.8869 | 40.6099
|  |  | Oct | [8 empty] | 38.1916 | 33.7996
|  |  | Nov | [8 empty] | 32.7764 | 29.0071
|  |  | Dec | [8 empty] | 27.0761 | 23.9624
[12 empty] | Without Cover | Cover Used
|  |  | Jan | [8 empty] | 6.7548 | 4.0529
|  |  | Feb | [8 empty] | 7.0113 | 4.2068
|  |  | Mar | [8 empty] | 8.8924 | 5.3354
|  |  | Apr | [8 empty] | 11.4575 | 6.8745
|  |  | May | [8 empty] | 14.3646 | 8.6188
|  |  | Jun | [8 empty] | 16.2457 | 9.7474
|  |  | Jul | [8 empty] | 16.9297 | 10.1578
|  |  | Aug | [8 empty] | 15.8182 | 9.4909
|  |  | Sep | [8 empty] | 13.7661 | 8.2596
|  |  | Oct | [8 empty] | 11.4575 | 6.8745
|  |  | Nov | [8 empty] | 9.8329 | 5.8997
|  |  | Dec | [8 empty] | 8.1228 | 4.8737
| ****Avg. temp rise per hour at 26 degree ambient, 80% RH, 26 degree water | [10 empty] | 0.49121 | degrees
| ****Ave temp rise per hour at 15 degree ambient, 63% RH, 26 degree Water | [10 empty] | 0.36841 | degrees
71.1312
5.4716
9.8489
2.7577
82.7311
Notes:
This sizing guide is indicative only. Site Condtions, prevailing winds, and other factors can influence heat pump performance
and heat losses from pool. If in doubt select a larger model heat pump.
The use of a thermal blanket may reduce operating costs by up to 50% however, as many pool owners leave the blanket off during
the swimming season, these calculations assume that no blanket is used.
Particular care should be taken when sizing for a commercial application - contact insnrg for detailed advice
Daily cost to maintain temperature
Initial Heat Up Cost
kW required to raise water Temperature

## Sheet2 (hidden)
| 32.6 | 32.3 | 30.8 | 28.5 | 24.6 | 21.8 | 20.5 | 22.4 | 25.8 | 28.9 | 30.9 | 32.1
| 7.9 | 8.2 | 10.4 | 13.4 | 16.8 | 19 | 19.8 | 18.5 | 16.1 | 13.4 | 11.5 | 9.5
Selected Temperature | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
City | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Adelaide | 23.1 | 22.6 | 20.4 | 17.6 | 13.7 | 11.4 | 10.4 | 11.3 | 13.8 | 16.8 | 19.1 | 20.8 | 0
Brisbane | 25.6 | 25.3 | 23.8 | 21.5 | 17.6 | 14.8 | 13.5 | 15.4 | 18.8 | 21.9 | 23.9 | 25.1 | 0
Melbourne | 20.1 | 19.8 | 17.6 | 14.6 | 11.2 | 9 | 8.2 | 9.5 | 11.9 | 14.6 | 16.5 | 18.5 | 1
Perth | 23.9 | 23.4 | 21.2 | 17.9 | 15.2 | 13.3 | 11.9 | 12.6 | 14.5 | 17.3 | 20 | 22.7 | 0
Sydney | 22.9 | 23 | 21.4 | 18.4 | 14.3 | 12 | 10.9 | 12.5 | 15.4 | 18.6 | 20.7 | 22.1 | 0
Townsville | 25.6 | 25.3 | 23.8 | 23.5 | 20.6 | 17.8 | 16.5 | 18.4 | 21.8 | 24.9 | 25.9 | 27.1 | 0
Graph data | 20.1 | 19.8 | 17.6 | 14.6 | 11.2 | 9 | 8.2 | 9.5 | 11.9 | 14.6 | 16.5 | 18.5
0 | 4.9 | 5.4 | 7.6 | 10.4 | 14.3 | 16.6 | 17.6 | 16.7 | 14.2 | 11.2 | 8.9 | 7.2
0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Adelaide | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
Brisbane | 33 | 33 | 33 | 26.4 | 22.5 | 19.7 | 18.4 | 20.3 | 23.7 | 26.8 | 33 | 33
Melbourne | 25 | 24.7 | 22.5 | 19.5 | 16.1 | 13.9 | 13.1 | 14.4 | 16.8 | 19.5 | 21.4 | 23.4
Perth | 28.8 | 28.3 | 26.1 | 22.8 | 20.1 | 18.2 | 16.8 | 17.5 | 19.4 | 22.2 | 24.9 | 27.6
Sydney | 27.8 | 27.9 | 26.3 | 23.3 | 19.2 | 16.9 | 15.8 | 17.4 | 20.3 | 23.5 | 25.6 | 27
Townsville | 33 | 33 | 33 | 33 | 25.5 | 22.7 | 21.4 | 23.3 | 26.7 | 33 | 33 | 33
| 4.9 | 5.4 | 7.6 | 10.4 | 14.3 | 16.6 | 17.6 | 16.7 | 14.2 | 11.2 | 8.9 | 7.2
Adelaide | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 |  | Spring to Autumn
Brisbane | 33 | 33 | 33 | 26.4 | 22.5 | 19.7 | 18.4 | 20.3 | 23.7 | 26.8 | 33 | 33
Melbourne | 25 | 24.7 | 22.5 | 19.5 | 16.1 | 13.9 | 13.1 | 14.4 | 16.8 | 19.5 | 21.4 | 23.4
Perth | 28.8 | 28.3 | 26.1 | 22.8 | 20.1 | 18.2 | 16.8 | 17.5 | 19.4 | 22.2 | 24.9 | 27.6
Sydney | 27.8 | 27.9 | 26.3 | 23.3 | 19.2 | 16.9 | 15.8 | 17.4 | 20.3 | 23.5 | 25.6 | 27
Townsville | 33 | 33 | 33 | 33 | 25.5 | 22.7 | 21.4 | 23.3 | 26.7 | 33 | 33 | 33
Adelaide | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28
Brisbane | 33 | 33 | 33 | 26.4 | 28 | 28 | 28 | 28 | 23.7 | 26.8 | 33 | 33
Melbourne | 25 | 24.7 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 23.4
Perth | 28.8 | 28.3 | 26.1 | 22.8 | 28 | 28 | 28 | 28 | 28 | 28 | 24.9 | 27.6 |  | Year Round Season
Sydney | 27.8 | 27.9 | 26.3 | 23.3 | 28 | 28 | 28 | 28 | 28 | 23.5 | 25.6 | 27
Townsville | 33 | 33 | 33 | 33 | 25.5 | 28 | 28 | 23.3 | 26.7 | 33 | 33 | 33
Graph data | 25 | 24.7 | 22.5 | 19.5 | 16.1 | 13.9 | 13.1 | 14.4 | 16.8 | 19.5 | 21.4 | 23.4
Monthly Cost to Heat
|  | No Cover | With Cover
| jan | 209.3983 | 125.639
| feb | 196.3163 | 117.7898
| mar | 275.6636 | 165.3982
| apr | 343.7245 | 206.2347
| may | 445.3027 | 267.1816
| jun | 487.3705 | 292.4223
| jul | 524.8211 | 314.8927
| aug | 490.3631 | 294.2179
| sep | 412.9824 | 247.7894
| oct | 355.182 | 213.1092
| nov | 294.9874 | 176.9925
| dec | 251.8081 | 151.0849